## Sheet1
Syringe Filter
Nylon Syringe Filters, Sterile / Nylon Syringe Filters, Non-Sterile High Flow Syringe Filters, Sterile / High Flow Syringe Filters, Non-Sterile CA Syringe Filters, Sterile / CA Syringe Filters, Non-Sterile PVDF Syringe Filters, Sterile /PVDF Syringe Filters, Non-Sterile PES Syringe Filters, Sterile / PES Syringe Filters, Non-Sterile PTFE Syringe Filters, Hydrophobic, Sterile / PTFE Syringe Filters, Hydrophobic, Non-Sterile PTFE Syringe Filters, Hydrophilic, Sterile / PTFE Syringe Filters, Hydrophilic, Non-Sterile Glass Fiber Syringe Filters, Sterile / Glass Fiber Syringe Filters, Non-Sterile MCE Syringe Filters, Sterile / MCE Syringe Filters, Non-Sterile PP Syringe Filters, Sterile / PP Syringe Filters, Non-Sterile
Make | Omsons Germany
Pore size | 0.2, 0.45 ….. | 0.2µm | 0.45µm | 0.5µm | 0.8µm | 1µm | 1.5µm | 2µm | 5µm | 10µm
Catalog No. | OM260-020 (Cat. Wise All)
Lot No. | Nylon : SNY High Flow : SHF CA : SCA PVDF : SVF PES : SPS PTFE : STF Glass Fiber : SGF MCE : SME PP : SPP | 00 2 | 0 45 | 00 5 | 0 80 | 0 10 | 0 15 | 0 20 | 0 50 | 100 | Year (2 digit) | Sr. No. 01
Membrane | Nylon Nylon with Micro-glass Fiber High Flow High Flow with Micro-glass Fiber CA CA with Micro-glass Fiber PVDF PVDF with Micro-glass Fiber PES PES with Micro-glass Fiber PTFE PTFE with Micro-glass Fiber Glass Fiber Glass Fiber with Micro-glass Fiber MCE MCE with Micro-glass Fiber PP PP with Micro-glass Fiber
Housing | Polypropylene
Filter Diameter | 4, 13, 25, 33 | 4 | 13 | 25 | 33
Burst Pressure | > 7kg/cm² | > 7kg/cm² | > 7kg/cm² | > 7kg/cm² | > 7kg/cm²
Holdup Volume | < 5µl, < 10µl, < 20µl, < 50µl, < 70µl | < 5µl, < 10µl | < 20µl | < 50µl | < 70µl | NA
Expiry (if Non Sterile - NA) (if Sterile - Month/Year) | Month / Year
Sterilization (if Non Sterile - NA) (if Sterile - ETO / Gamma) | ETO / Gamma
Before being released, every lot has undergone thorough testing, been sampled, and complied with quality assurance standards & passes following characteristics. • Integrity • Flow rate Performance • Burst Pressure • Leakage Test • HPLC Testing
Particle Release : Passes test as per USP< 788>, particulate matter in injections. Fiber Release : Complies-Requires No initial flushing
Sterility : Pass
Precautions: 1. During Handling, Avoid Direct Touch to Outlet. 2. Wear gloves to avoid contamination.
Customer Support: Our first goal is your satisfaction. If you require any extra help, you may contact our Team.
The syringe filter have been manufactured in compliance with ISO 9001 regulation using validated production process.